The probabilistic energy dispatch as a tool to maximize the integration of wind generation in the electrical system of Uruguay
Ruben Chaer
Gerente de Técnica y Despacho Nacional de Cargas
Administración del Mercado Eléctrico – URUGUAY.
México WindPower 4-5 de Marzo de 2020

---
República Oriental del URUGUAY
República Oriental del URUGUAY
Area	176.215 km²
Population1	3.450.000 inhab
Pop. Density	19 inhab/km²
GPD2	59.6 USD Billions
GPD/inhab3	14 600 USD/inhab
HDI4 0.808 (position 57/189)
1 Estimated 2018
2 Gross National Product 2018
3 Year 2018
4 Human Development Index 2019
[Speaker Notes: Uruguay is a small country of one hundred seventy six thousand square kilometers and the population is almost three million and a half. We have an average annual income per capita of 15 thousand dollars.]

---
Each system has its peculiarities.
The optimal solution is surely different for each country.
In this presentation we will show how the Optimal Operation Programming of the National Integrated System in Uruguay is carried out with an installed wind and solar capacity that exceeds the peak of the system load in 70% of the days of the year

---
What we have done in Uruguay.
Source: The risk images are from the IIE studies carried out in 2010 and 2018 respectively.
2011 [GWh]
dry years
wet years

---
What we have done in Uruguay.
Source: The risk figures are from the IIE studies carried out in 2010 and 2018 respectively.
dry years
wet years
2019 [GWh]

---
Any 72 hours of January 2020 of the dispatch just as an example
Exports
Source: https://adme.com.uy

---
Objective of the operation of the national interconnected system.
 Provide energy with acceptable reliability and quality at the minimum cost.
Centralized Dispatch.
Only Variable Costs.
Contracts are papers.

---
The System, The Operator and The Operation Policy

---
Operation Policy and The Cost of The Future
u= P( X, r, t )
CF_PO(X_ahora) = langle { int from{ahora} to{+infinity} ce( X,r, u, t ) dt } rangle

---
Temporary linking of decisions.
The use of stored resources (water) in the present produces an increase in future operating costs. The postponement of the use of a stored resource produces an increase in the costs of the present.
The Optimal Policy is the one that balances the cost impact between present and future.

---
Platform for simulation of optimal operation of the energy dispatch.
100% OOP
Actors
Playroom
Dynamic parameters
Monitors
Free & OpenSource
SimSEE
https://simsee.org

---
Characterization of the variability in Uruguay.
16 years
water inflows
wind & solar
WS
2 month

---
Time-Step used for simulation.
Big time step / implicit inertia
balance restrictions overestimate filtering capacity
Small time step / more state variables
need of availability models to represent
fail/repair inertia

---
Time-Bands (Patamares) defined by the Monotonous Load Curve ... Makes sense?
Only an example, 4 days of july-2018-Uruguay
hours
MW
hours
MW
Source: ADME - SCADA ten-minute time series
[Speaker Notes: To fix ideas, the figure shows the supply of the Demand of Uruguay in the first four days of July 2018. They were not chosen for anything in particular.]

---
Representation of uncertainty.
El Niño, Hydro, Wind, Solar, Demand, Temperature.
(correlated processes)
Sources of randomness
Stochastic processes
Demand and temperature
Flows of water contributions
Wind speed
Solar radiation
Price of interconnected markets
Fuel prices
Availability of fuels
Availability of generating plants
Availability of transport lines
Equipment availability
(independent booleans)
We are managing faster dynamics, therefore, the correlation between the different resources has greater importance.
We need models of variability that correctly represent the correlation between resources and the correlation with the past.
That is, we have to represent the inertia behind the stochastic variables.

---
Availability of generators, power transmission lines, etc.
Fail
Available
Unavailable
Repair
If we do not represent the state of the availability when simulating with small time-steps, the consequences of the inertia of the fault-repair process are underestimated.
Each generator, transmission line, etc. adds a Boolean state variable to the system.

---
CEGH modeling.
reproduces the amplitude histograms of the original processes.
reproduces the spatial and temporal correlations in a gaussian space.
Gaussian World
Gaussian World:
Multi-variable linear system
fed with
Gaussian independent white noise
Real World
Model
NLT
NLT
{ stack { {X rSub {k+1} = Sum cSub { h=0 } cSup { h=n - 1 } {A rSub { h } X rSub { k - h } } + Sum cSub { h=0 } cSup { h=m - 1 } {B rSub { h } R rSub { k - h } } } } }
NLT
NLT
Accept state space reductions.
Accept forecast information.
NLT
NLT

---
Bellman's curse of dimensionality.
CEGH

---
Ease of integration of FORECAST.
X_{k+1} = Sum from { h=0 } to { h=n_r - 1 } {A_{ h } X_{ k - h } } + S_k + F_k Sum from { h=0 } to { h=m - 1 } {B_{ h } R_{ k - h } }
The biases (S) change the 50% probability guide and the attenuation factors (F) regulate the noise injection, allowing to go from a Deterministic Forecast (null noise) to the disappearance of the forecast (historical noise).
S_k = left [ stack{s_{1,k} # ... # s_{n,k} } right ]
F_k = left [ matrix{ f_{1,k} # 0 #... # 0 ## 0 # f_{2,k} # ...# 0 ## 0 # ... # 0 # f_{n,k} } right ]

---
PRONOS
2016-2017
https://pronos.adme.com.uy
https://pronos.adme.com.uy/svg/
Weather Forecast
Real time
status information
Power plants models
Load, Wind and Solar power
Forecast

---
Treatment of forecasts in CEGH modeling. Gaussianization
Real World
Gaussian Space
P50
P90
P10
t
x1
x2
P50
P90
P10

---
Treatment of forecasts in Gaussian space with reduction.
z= M_R X
u= PO_z( z, r, t )
X= M_A(t) z + B_A(t) w
P10
P50
t
P90
z1
z
R
A
P50
P90
P10
t
x1
x2

---
ADME_Data y ADME_WindSim

---
Operator without forecasts

---
Operator with forecasts

---
ÍNDICE N3.4 Integrado al Despacho
Considering the ENSO Forecasts

---
Ejemplo de aplicación_clipboard1
Programming the enegy dispatch without windpower forecasts.
σ =0
Pronóstico

---
Ejemplo de aplicación_clipboard0
Programming the enegy dispatch with 72h of windpower forecasts.
Forecast

---
Continuous forecast of the next 168 hours of optimal operation.
VATES
https://vates.adme.com.uy

---
http://vates.adme.com.uy
HYDRO
WIND
SOLAR
forecasts
LOAD
forecast
Real-time
Info.
VATES
optimal operation
next 168 hours
forecast
ADME
Public-web

---
Espected generation by source. (Example from ADME’s WEB)

---
Next 168 h, System Load forecast.
(Example from ADME’s WEB)

---
Next 168 h, Windpower forecast.
(Example from ADME’s WEB)

---
Next 168 h, “Punta del Tigre” energy-dispatch forecast.
(Example from ADME’s WEB)
Punta del Tigre is a power plant with 6 turbine generator units burning diesel.
This information is very usefull for the system’s operators.

---
Next 168 h, Spot Price forecast.
(Example from ADME’s WEB)
This information is published to allow Responsive Demand projects to grow.

---
In the future, VATES will close the loop with a self-learning model of Responsive Demand to avoid spot price oscillations.
Forecasts.
Wind,
 Solar
Demand
VATES
SimSEE
Responsive
Ddemand
cloud
real world
converge?
next iteration
no
yes
Responsive
Demand
cloud
Model
Modeling
feedback
RTTx
RTT
yes
System status

---
That's all folks.
Thank you so much for your attention!
... and let's continue exploring the future!
Ruben Chaer
Gerente de Técnica y Despacho Nacional de Cargas – ADME.
rchaer@adme.com.uy
Montevideo - Uruguay